# Pathport®  DMX Management System

# Touring Edition DMX/RDM Gateway Nodes

May 2009

# General

Provide single-port DMX nodes to permit DMX512 data to be encoded, routed and decoded over an Ethernet network.

Each node shall incorporate one female 5-pin XLR-type connector for DMX output or input.

Each node shall incorporate one female Ethercon® RJ45-type jack for its network connection.

Each node shall incorporate two bottom-mounted LEDs for status reporting – green for DMX present and blue for network connection present.

Nodes shall incorporate a backlit graphical LCD display for identification (soft-labeling) and status reporting.  Labeling shall be user-configurable.

Nodes shall incorporate a three-button user interface, allowing basic configuration without a network connection.  The interface shall run on a standard, replaceable 9V battery.

# DMX Port

DMX port shall comply with the requirements of the ANSI E1.11 DMX512-A standard.

DMX port shall be fully electrically isolated from the network infrastructure and Ethernet power.

DMX port shall be capable of being user-configured as inputs or outputs, regardless of the connector style.

DMX port shall be capable of withstanding fault voltages of up to 250VAC without damage.

DMX port shall support ANSI E1.20 Remote Device Management when configured as an output.

# Processor

Each node shall have sufficient processing power to manage up to 128 DMX universes.

Maximum delay time from input to output shall not be greater than one packet time (approximately 30 mSec.).

The DMX update rate shall be user-selectable between rates of 31Hz, 36Hz, 40Hz, and 44Hz (maximum).

# Mechanical

The node shall be enclosed in an impact-resistant plastic housing with an IP 54 rating.

The node shall include a hanging bracket suitable for an industry-standard C-clamp and a separate attachment post suitable for a safety lanyard.

# Power

Power for the nodes under show conditions shall be provided over the Cat5/6 cable, complying with IEEE 802.3af Power-over-Ethernet (POE).  Systems requiring the installation of additional wiring for power shall not be acceptable.

The node electronics shall be electrically isolated from the power supplied over the Cat5/6 cable.

Power may be provided from IEEE 802.3af compliant network switches, or by using conventional switches together with mid-span insertion power supplies.

# Configuration

Nodes shall be individually configurable using the front panel buttons when a 9V battery is installed in the unit.  All basic features, such as but not limited to, IP Address and subnet, DMX direction and speed, transmit and receive protocols and diagnostic tools shall be configurable from the front panel.

Multiple nodes on the same network shall be remotely configurable from a computer connected to the network.

Node identification (naming) and complex patching as well as all basic features shall be configurable using a computer.  The node manufacturer shall provide the configuration software for this function free of charge.  The software shall run on Windows, Macintosh or Linux operating systems.

# DMX Routing

It shall be possible for the user to route complete DMX universes from any input port to any DMX output port at any node.  It shall be possible to route universes to any number of nodes.  It shall further be possible to route individual DMX channels (or ranges of channels) from any input port to any output port.

It shall be possible to merge whole universes or individual DMX channels.

It shall be possible to prioritize input universes or individual channels.

The computer shall not be required for the normal operation of the system.

All relevant routing information shall be stored in non-volatile memory at each node.  The system shall recover from a power outage without requiring a computer to be online.

# Diagnostic Tools

The node shall be able to report received DMX levels on a channel-by-channel basis.

The node shall transmit, on user command, DMX levels on a user-specified channel when configured as an output.

The node shall act as an ANSI E1.20 Remote Device Management (RDM) proxy device, discovering upon command all downstream RDM-enabled devices, and shall report their ID numbers and DMX start addresses.

The node’s diagnostic tools shall be user-activated from the three-button interface and all results shall be reported on the LCD graphical display.  The node shall also be capable of reporting RDM discovery information to third-party RDM interfaces.

# Network

Communications physical layer shall comply with the IEEE 802.3 10BASE-T Ethernet specification.

All network cabling shall be Cat5, Cat5e or Cat6 conforming to TIA-568A/B, and shall be installed and certified by a qualified network installer.

Data transport shall utilize the TCP/IP suite of protocols to transfer the DMX data.

Nodes shall support industry standard ANSI 1.31 Streaming ACN.

Nodes shall also support ETCNet2 (DMX output only), ETCNet3, Pathport Protocol, ArtNet, and Strand ShowNet.

Nodes shall be capable of accepting data from any or all of the above named protocols simultaneously.

# System Requirements

Provide the quantity of nodes as indicated on the drawings and schedules.  Nodes and software shall be as manufactured by Pathway Connectivity.

Provide Ethernet switches and power supplies as shown on the drawings and schedules.

Provide a current generation computer with a Windows, Macintosh or Linux operating system, a monitor and a 10/100 Ethernet card.

11.0 Compliance

11.1 The Pathport Touring Edition nodes shall be ETL-listed as a conforming low-voltage device.

11.2 The Pathport Touring Edition nodes shall be compliant with the RoHS directive.

11.3 The Pathport Touring Edition nodes shall conform to all FCC and CE requirements.

Pathway Connectivity Inc.

#103 - 1439 17th Avenue SE  Calgary, AB T2G 1J9  Canada

+1 403 243-8110   Fax +1 403 287-1281

www.pathwayconnect.com

Specifications subject to change without notice